**Requirement Specification for Desktop Chargers**

1. **Requirements**

**1.1. Description of the requirement**

DALO wants to acquire 35 desktop chargers for batteries compatible with Zoll Propaq M and Zoll Propaq MD. The desktop chargers will be wall mounted in ambulances of the Danish Defence.

**1.2. Description and definitions**

The requirement specification, cf. section 1.4, describes all the requirements for the acquisition and consists of six columns with the following information:

|  |  |
| --- | --- |
| "#" | ID number |
| "Requirement" | Requirement description |
| "Classification" | The classification of the requirement as further described in section 1.3 |
| "DALO remarks" | Further information regarding the requirement |
| "Requirement compliance" | The tenderer's indication of compliance (YES or NO) |
| "Tender description" | Requirements regarding the tenderer's compliance description |

**1.3. Classification**

All requirements are mandatory requirements (SHALL) and shall be fulfilled by the tenderer. If just one of the mandatory requirements is not fulfilled, the tenderer's tender will not be taken into further consideration.

**1.4. Requirement and response sheet**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **#** | **Requirement** | **Classification** | **DALO remarks** | **To be filled out be the tenderer** | | |
| **Requirement compliance**  **(tick a box)** | | **Tenderer's description** |
| **YES** | **NO** |
| **1** | The desktop chargers must be compatible with original or OEM batteries for Zoll Propaq M and Zoll Propaq MD (Part no. 201-2221310-27 and 301-2421312-27). | SHALL |  |  |  |  |
| **2** | The dimension of the chargers must be 22,4 x 17,3 x 12,7 cm. | SHALL |  |  |  |  |
| **3** | The chargers must not weigh more than 1,8 kg excluding batteries. | SHALL |  |  |  |  |
| **4** | The charger must be functional in temperatures of 0 to 50 degrees Celsius. | SHALL |  |  |  |  |
| **5** | The Vendor must supply 35 pcs. | SHALL |  |  |  |  |
| **6** | The delivery time must be less than 80 calendar days from submission of the purchase order. | SHALL |  |  |  |  |